## HENGH_House_Data
Home_ID | City | Zipcode | CZ | Builder | YearBuilt | Start_Date | End_Date | N_Stories | FloorArea_sqft | CeilingHgt_ft | N_Bedrm | N_FullBath | N_HalfBath | Garage | N_CarGarage | WHV_T24-2008_cfm | WHV+Infiltration_T24-2013_cfm | WHV_System_Installed | WHV_Fan_Installed | WHV_AsFound | WHV_Label | WHV_Control | WHV_Notes | EXF_KIT_Measured_cfm | EXF_ATT_Measured_cfm | EXF_LAU_Measured_cfm | EXF_BA1_Measured_cfm | EXF_TO1_Measured_cfm | EXF_SW1_Measured_cfm | EXF_BA2_Measured_cfm | EXF_BA3_Measured_cfm | EXF_BA4_Measured_cfm | EXF_BA5_Measured_cfm | EXF_BA6_Measured_cfm | AF_Count | AF1_MERV | AF1_L | AF1_W | AF1_D | AF2_MERV | AF2_L | AF2_W | AF2_D | AF3_MERV | AF3_L | AF3_W | AF3_D | AF4_MERV | AF4_L | AF4_W | AF4_D | AF5_MERV | AF5_L | AF5_W | AF5_D | AF6_MERV | AF6_L | AF6_W | AF6_D | AF7_MERV | AF7_L | AF7_W | AF7_D | AF1_Condition | AF2_Condition | AF3_Condition | AF4_Condition | AF5_Condition | AF6_Condition | AF7_Condition | AF1_MonthsInUse | AF2_MonthsInUse | AF3_MonthsInUse | AF4_MonthsInUse | AF5_MonthsInUse | AF6_MonthsInUse | AF7_MonthsInUse | ClothesDryer_Fuel | ClothesDryer_Measured_cfm | ClothesDryer_Notes | Cooktop_Fuel | Oven_Fuel | GFP_Count | GFP1_Location | GFP2_Location | WaterHeater_Location | WaterHeater_Fuel | WaterHeater_Type | GasFurnace_Location | RHD_Make | RHD_Model | RHD_Type | RHD_Mounting_Height_in | RHD_HVI_Listed | RHD_N_Fan_Speed_Control | RHD_N_Fan_Speed_Measured | RHD_Grease_Screen_Condition | RHD_Fan_Airflow_Measured_Low_cfm | RHD_Fan_Airflow_Measured_Med1_cfm | RHD_Fan_Airflow_Measured_Med2_cfm | RHD_Fan_Airflow_Measured_High_cfm | MOR_Code_LBNLtest | MOR_Model_LBNLtest | MOR_CorrectRatio_Low | MOR_CorrectRatio_Med1 | MOR_CorrectRatio_Med2 | MOR_CorrectRatio_High | RHD_Fan_Airflow_Adjusted_Low_cfm | RHD_Fan_Airflow_Adjusted_Med1_cfm | RHD_Fan_Airflow_Adjusted_Med2_cfm | RHD_Fan_Airflow_Adjusted_High_cfm | Cooktop_Burner_Count | Oven_Count | Oven1_Location | Oven2_Location | IBU_Cooktop_Count | IBU_Oven_Count | Cooktop_IBU1 | Cooktop_IBU2 | Cooktop_IBU3 | Cooktop_IBU4 | Cooktop_IBU5 | Cooktop_IBU6 | Cooktop_IBU7 | Cooktop_IBU8 | Cooktop_IBU9 | Oven_IBU1 | Oven_IBU2 | DeltaQ_Baseline_Pretest_Pa | DeltaQ_Baseline_Posttest_Pa | DeltaQ_Baseline_Avg_Pa | Pressurization_C_cfm | Pressurization_n | Pressurization_Q50_cfm | Depressurization_C_cfm | Depressurization_n | Depressurization_Q50_cfm | Supply_Leakage_cfm | Return_Leakage_cfm | Supply_Leak_Pressure_Pa | Return_Leak_Pressure_Pa
1 | Mountain House | 953 | 12 | Meritage | 2013 | 2017-05-12 | 2017-05-19 | 2 | 2001 | 9 | 3 | 2 | 1 | Attached | 2 | 50.01 | 90.03 | Supply_Inline | ATT | Off | No | OnOff_Switch | Home tested using continuous BA1 exhaust fan because supply inline fan airflow cannot be verified. The rated airflow rate of the supply inline fan is 100 cfm. |  |  | 80 | 91 | 51 |  | 98 | 61 |  |  |  | 1 |  | 20 | 30 | 1 | [24 empty] | Very dirty | [6 empty] | 15 | [6 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH31017AS-1 | MI |  | Y | 2 | 2 | dirty | 77 |  |  | 116 |  | Model Average | 0.87 |  |  | 0.87 | 88.5057 |  |  | 133.3333 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -0.3466 | 0.28037 | -0.03312 | 86.9705 | 0.66649 | 1180 | 80.33 | 0.646 | 1006 | -2 | 34 | 50 | 40
3 | El Dorado Hills | 957 | 12 | Meritage | 2014 | 2016-07-12 | 2016-07-19 | 1 | 3104 | 10 | 4 | 3 | 0 | Attached | 3 | 68.54 | 130.62 | Supply_Inline | ATT | On | No | OnOff_Switch | Home tested using supply inline fan with a rated airflow rate of 100 cfm and assumed continuous runtime. |  |  | 68 | 49 | 79 |  | 88 | 94 |  |  |  | 3 | 8 | [27 empty] | Used | Used | Used | [11 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool | UXT5536AAS1 | RH |  | N | 3 | 3 |  | 107 | 173 |  | 326 | [6 empty] | 107 | 173 |  | 326 | 5 | 1 | Under |  | 5 | 1 | CLF | CLB | CCC | CRB | CRF |  |  |  |  | OVN
4 | El Dorado Hills | 957 | 12 | Standard Pacific (CalAtlantic) | 2015 | 2016-12-06 | 2016-12-13 | 1 | 3248 | 11 | 3 | 3 | 1 | Attached | 3 | 62.48 | 127.44 | Exhaust_Intermittent | LAU | Off | No | Programmable_Controller |  |  |  | 43 | 101 | 85 | 104 | 97 | 109 | 82 |  |  | 2 | 10 | 20 | 36 | 1 |  | 14 | 14 | 1 | [20 empty] | Used | Used | [5 empty] | 14 | 1 | [5 empty] | Electric |  |  | Gas | Electric | 1 | Courtyard | NA | ATT | Gas | Tankless | ATT | KitchenAid | UXB1200DYS | RH | 20 | N | 3 | 3 | dirty | 310 | 493 |  | 1046 | [6 empty] | 310 | 493 |  | 1046 | 6 | 2 | Aside | Aside | 6 | 2 | CLB | CLF | CCB | CCF | CRB | CRF |  |  |  | OVN1 | OVN2 | -0.63091 | -1.9354 | -1.2832 | 238.7637 | 0.64055 | 2926 | 161.496 | 0.67035 | 2224 | 157 | 65 | 55 | 25
5 | El Dorado Hills | 957 | 12 | Standard Pacific | 2014 | 2016-07-14 | 2016-07-20 | 2 | 2317 | 9 | 4 | 2 | 0 | Attached | 2 | 60.67 | 107.01 | Exhaust_Intermittent | LAU | Off | No | Programmable_Controller | Home tested without WHV because the LAU exhaust fan controller did not work. | [11 empty] | 7 | 11 | 20 | 30 | 1 |  | 14 | 14 | 1 |  | 12 | 12 | 1 |  | 6 | 12 | 1 |  | 6 | 12 | 1 |  | 12 | 6 | 1 |  | 12 | 6 | 1 | Used | Used | Used | Used | Used | Used | Used | 4 | 4 | 4 | 4 | 4 | 4 | 4 | Electric |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool |  | MI |  |  | 4 | 3 |  | 71 | 89 |  | 125 |  | Model Average | 0.87 | 0.87 |  | 0.87 | 81.6092 | 102.2989 |  | 143.6782 | 4 | 2 | Under | Under | 2 | 2 | CLF | CLB | [7 empty] | OVN1 | OVN2
6 | El Dorado Hills | 957 | 12 | Lennar Homes | 2015 | 2016-07-26 | 2016-08-02 | 1 | 3108 | 11 | 3 | 2 | 1 | Attached | 3 | 61.08 | 123.24 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 115 | 81 | 49 | 85 | 78 | 51 |  |  |  | 2 | 8 | 20 | 20 | 1 |  | 20 | 14 | 1 | [20 empty] | Used | Used | [5 empty] | 6 | 6 | [5 empty] | Electric |  |  | Gas | Electric | 1 | California Room | NA | ATT | Gas | Tankless | ATT | GE Monogram | ZV48SSJSS | RH |  | N | 4 | 4 |  | 360 | 575 | 750 | 806 | [6 empty] | 360 | 575 | 750 | 806 | 6 | 2 | Aside | Aside | 3 | 1 | CLC | CCC | CRC | [6 empty] | OVN
7 | El Dorado Hills | 957 | 12 | Standard Pacific (CalAtlantic) | 2015 | 2016-07-27 | 2016-08-03 | 1 | 3248 | 10 | 4 | 4 | 1 | Attached | 3 | 69.98 | 134.94 | Exhaust_Intermittent | LAU | On | No | Programmable_Controller |  |  |  | 94 | 105 | 77 | 87 | 108 |  |  |  |  | 2 | 8 | 14 | 14 | 1 | 8 | 20 | 36 | 1 | [20 empty] | Inaccessible | Like new | [5 empty] | 7 | 7 | [5 empty] | Gas |  |  | Gas | Gas | 1 | GRL | NA | ATT | Gas | Tankless | ATT | Best | WPP9IQT48SB | RH |  | N | 4 | 4 |  | 248 | 432 | 705 | 806 | [6 empty] | 248 | 432 | 705 | 806 | 6 | 2 | Under | Under | 3 | 1 | CLC | CCC | CRC | [6 empty] | OVN
8 | El Dorado Hills | 957 | 12 | Standard Pacific (CalAtlantic) | 2014 | 2016-10-12 | 2016-10-19 | 1 | 3100 | 10 | 3 | 3 | 1 | Attached | 2 | 61 | 123 | Exhaust_Intermittent | LAU | Off | No | Programmable_Controller |  |  |  | 102 | 91 | 59 |  | 105 | 87 | 72 |  |  | 2 | 10 | 20 | 36 | 1 | 8 | 14 | 14 | 1 | [20 empty] | Clean | Clean | [5 empty] | 6 | 6 | [5 empty] | Electric |  |  | Gas | Electric | 1 | Patio | NA | ATT | Gas | Tankless | ATT | KitchenAid | UXB1200DYS | RH |  | N | 3 | 3 | clean | 265 | 385 |  | 690 | [6 empty] | 265 | 385 |  | 690 | 6 | 2 | Aside | Aside | 6 | 1 | CLB | CLF | CCB | CCF | CRB | CRF |  |  |  | OVN |  | -0.60265 | -0.0996 | -0.35113 | 160.3838 | 0.71577 | 2638 | 156.9736 | 0.65416 | 2029 | 22 | 2 | 20 | 100
9 | El Dorado Hills | 957 | 12 | Meritage | 2014 | 2016-10-25 | 2016-11-01 | 2 | 3085 | 9 | 4 | 3 | 1 | Attached | 3 | 68.35 | 130.05 | Supply_Inline | ATT | On | No | Programmable_Controller | Home tested using supply inline fan with a rated airflow rate of 100 cfm and assumed continuous runtime. |  |  | 117 | 50 | 77 |  | 107 | 100 | 91 |  |  | 2 |  | 20 | 36 | 1 |  | 14 | 14 | 1 | [20 empty] | Used | Used | [5 empty] | 2 | 2 | [5 empty] | Electric |  |  | Gas | Gas | 1 | GRL | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH32519CS-O | MI |  | N | 3 | 3 | clean | 79 | 89 |  | 110 | WH3 | WMH32519HV | 0.71875 | 0.72189 |  | 0.71066 | 109.913 | 123.2869 |  | 154.7857 | 4 | 1 |  |  | 4 | 1 | CLF | CLB | CRB | CRF | [5 empty] | OVN |  | -4.3926 | -4.0575 | -4.2251 | 69.7956 | 0.74363 | 1280 | 34.9382 | 0.79786 | 792 | 41 | 30 | 100 | 100
10 | El Dorado Hills | 957 | 12 | Meritage | 2015 | 2016-09-20 | 2016-09-27 | 2 | 4202 | 10 | 5 | 5 | 1 | Attached | 4 | 87.02 | 171.06 | Supply_Inline | ATT | On | Yes | OnOff_Switch | Home tested using supply inline fan with a rated airflow rate of 190 cfm and assumed continuous runtime. |  |  | 57 | 95 | 68 |  | 97 | 94 | 100 | 78 | 49 | 3 | 13 | 20 | 36 | 1 | 8 | 14 | 14 | 1 | 8 | 14 | 14 | 1 | [16 empty] | Dirty | Dirty | Dirty |  |  |  |  | 0.5 | 0.5 | [5 empty] | Electric | 53 | Flow weak 10% lint blockage | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | KitchenAid | KVUB606DSS1 | RH | 28 | Y | 4 | 4 | dirty | 138 | 194 | 227 | 240 | [6 empty] | 138 | 194 | 227 | 240 | 5 | 2 | Under | Aside | 5 | 2 | CLB | CLF | CCC | CRB | CRF |  |  |  |  | OVN1 | OVN2 | 0.50133 | 0.38544 | 0.44339 | 90.3353 | 0.69348 | 1362 | 80.7037 | 0.65319 | 1039 | 149 | 18 | 100 | 100
11 | El Dorado Hills | 957 | 12 | Taylor Morrison | 2013 | 2016-10-04 | 2016-10-11 | 1 | 2541 | 10 | 3 | 3 | 1 | Attached | 3 | 55.41 | 106.23 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 81 | 87 | 62 |  | 82 | 75 | 86 |  |  | 2 | 10 | 20 | 30 | 1 | 8 | 14 | 14 | 1 | [20 empty] | Used | Used | [5 empty] | 2 | 1 | [5 empty] | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | GE Profile | JVM3670SK06 | MI |  | N | 4 | 3 | clean | 119 | 165 |  | 215 |  | Model Average | 0.87 | 0.87 |  | 0.87 | 136.7816 | 189.6552 |  | 247.1264 | 5 | 2 | Aside | Aside | 4 | 2 | CLF | CCC | CRB | CRF | [5 empty] | OVN1 | OVN2 | -0.76379 | -0.6696 | -0.7167 | 175.8376 | 0.68369 | 2551 | 153.1221 | 0.66257 | 2045 | 36 | 23 | 30 | 70
13 | El Dorado Hills | 957 | 12 | Standard Pacific | 2014 | 2016-11-30 | 2016-12-07 | 1 | 1900 | 9 | 3 | 2 | 0 | Attached | 2 | 49 | 87 | Exhaust_Intermittent | LAU | Off | No | Programmable_Controller |  |  |  | 87 | 98 | 75 |  | 105 |  |  |  |  | 3 | 11 | 14 | 14 | 1 | 10 | 20 | 30 | 1 |  | 14 | 14 | 1 | [16 empty] | Used | Very dirty | [6 empty] | 0.5 | [5 empty] | Electric |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH75520AS-0 | MI |  | N | 4 | 4 | dirty | 74 | 101 | 118 | 126 |  | Model Average | 0.87 | 0.87 | 0.87 | 0.87 | 85.0575 | 116.092 | 135.6322 | 144.8276 | 4 | 2 | Under | Under | 4 | 1 | CLF | CLB | CRB | CRF | [5 empty] | OVN |  | -1.7205 | -0.7552 | -1.2379 | 138.9785 | 0.64119 | 1707 | 126.9243 | 0.61971 | 1434 | 19 | 12 | 35 | 25
15 | Discovery bay | 945 | 3 | Kiper Homes | 2015 | 2016-08-25 | 2016-09-01 | 1 | 2063 | 9 | 3 | 2 | 0 | Attached | 2 | 50.63 | 91.89 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 72 | 69 | [7 empty] | 2 | 11 | 20 | 30 | 1 | 11 | 14 | 14 | 1 | [20 empty] | Dirty | Dirty | [12 empty] | Gas |  | Flow normal 25% lint blockage | Gas | Gas | 1 | California Room | NA | GAR | Gas | Tankless | ATT | Whirlpool | WMH53520CS-2 | MI | 21 | Y | 4 | 4 | clean | 58 | 91 | 97 | 107 | WH2 | WMH53520CB | 0.8913 | 0.89865 | 0.8932 | 0.86328 | 65.0732 | 101.2632 | 108.5978 | 123.9457 | 5 | 1 |  |  | 8 | 1 | CLB | CLB_SUP | CRF_SUP | CCC | CCC_SUP | CRB_SUP | CRB | CRF |  | OVN |  | 0.15949 | 0.0491 | 0.10429 | 124.5474 | 0.65719 | 1629 | 122.1152 | 0.63695 | 1475 | 37 | 12 | 60 | 100
16 | Brentwood | 945 | 12 | Seeno (Discovery) Homes | 2011 | 2016-08-17 | 2016-08-24 | 1 | 2950 | 10 | 4 | 2 | 1 | Attached | 3 | 67 | 126 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch | Home tested with low WHV because occupants turned off exhaust fan during the monitoring week. |  |  | 59 | 49 | 11 |  | 54 |  | 37 |  |  | 1 | 11 | 20 | 30 | 1 | [24 empty] | Like new | [6 empty] | 1 | [6 empty] | Electric | 87 | Damper restricted significant lint blockage | Gas | Electric | 2 | GRL | BD1 | GAR | Gas | Storage | ATT | GE Profile |  | RH | 32.5 |  | 4 | 3 | clean | 160 | 227 |  | 367 | [6 empty] | 160 | 227 |  | 367 | 5 | 2 | Aside | Aside | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -0.21195 | 0.47679 | 0.13242 | 167.9149 | 0.66444 | 2259 | 173.6589 | 0.63842 | 2110 | 51 | 61 | 85 | 100
17 | El Dorado Hills | 957 | 11 | Taylor Morrison | 2014 | 2016-12-09 | 2016-12-16 | 1 | 2127 | 9 | 3 | 3 | 0 | Attached | 2 | 51.27 | 93.81 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 88 | 104 | 40 |  | 100 | 100 |  |  |  | 2 | 8 | 20 | 30 | 1 | 8 | 20 | 14 | 1 | [20 empty] | Like new | Like new | [5 empty] | 6 | 6 | [5 empty] | Electric |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JVM7195SF1SS | MI |  | N | 4 | 4 | dirty | 89 | 127 | 179 | 215 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 95.4227 | 135.3431 | 190.1875 | 240.3455 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -3.6617 | -1.0893 | -2.3755 | 118.9289 | 0.72427 | 2022 | 82.7407 | 0.72587 | 1416 | 12 | 4 | 100 | 100
19 | Brentwood | 945 | 12 | William Lyon Homes | 2014 | 2017-02-07 | 2017-02-14 | 2 | 1789 | 9 | 4 | 3 | 1 | Attached | 2 | 55.39 | 91.17 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 111 | 95 | 86 |  | 119 | 100 | 51 |  |  | 2 | 8 | 20 | 24 | 1 | 11 | 14 | 20 | 1 | [20 empty] | Very dirty | Very dirty | [5 empty] | 12 | 12 | [5 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH31017AS-1 | MI | 20 | Y | 2 | 2 | dirty | 68 |  |  | 102 |  | Model Average | 0.87 |  |  | 0.87 | 78.1609 |  |  | 117.2414 | 5 | 1 | Under |  | 3 | 1 | CLB | CRB | CRF | [6 empty] | OVN |  | -1.5604 | -1.0558 | -1.3081 | 175.6281 | 0.63785 | 2129 | 159.6414 | 0.64355 | 1979 | 66 | 21 | 75 | 45
21 | Elk Grove | 957 | 11 | Taylor Morrison | 2014 | 2017-01-17 | 2017-01-24 | 1 | 2972 | 10 | 4 | 3 | 1 | Attached | 3 | 67.22 | 126.66 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 103 | 98 | 42 |  | 85 | 103 | 22 |  |  | 2 | 8 | 20 | 30 | 1 | 8 | 14 | 20 | 1 | [20 empty] | Like new | Like new | [5 empty] | Never | Never | [5 empty] | Electric |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JV566H2SS | RH | 36 | N | 2 | 2 | used | 136 |  |  | 210 | [6 empty] | 136 |  |  | 210 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CCB | CRB | CRF |  |  |  |  | OVN |  | -1.8936 | -4.0487 | -2.9712 | 210.3634 | 0.63334 | 2506 | 169.0641 | 0.63767 | 2048 | 274 | 184 | 80 | 45
24 | Oakland | 946 | 3 | Custom Built | 2012 | 2017-02-17 | 2017-02-24 | 2.5 | 1675 | 9 | 3 | 3 | 0 | Attached | 1 | 46.75 | 80.25 | Exhaust_Continuous | BA2 | Off | No | OnOff_Switch |  |  |  |  | 88 |  |  | 71.5 |  |  |  |  | 1 | 13 | 27 | 22 | 5 | [24 empty] | Clean | [6 empty] | 12 | [6 empty] | Gas | 92 | Visible lint covering concrete below exhaust | Gas | Gas | 1 | GRL | NA | OUT | Gas | Tankless | ATT | Kenmore | 5205 233.52053 | RH | 30 | N | variable | 4 | dirty | 63 | 76 | 120 | 165 | [6 empty] | 63 | 76 | 120 | 165 | 4 | 1 | Under |  | 3 | 1 | CLB | CLF | CRB | [6 empty] | OVN |  | -0.28113 | -0.7866 | -0.53387 | 160.4183 | 0.65656 | 2093 | 145.1841 | 0.64973 | 1844 | 93 | 30 | 100 | 100
25 | Hayward | 542 | 3 | Toll Brothers | 2013 | 2017-03-23 | 2017-03-30 | 2 | 4214 | 10 | 5 | 4 | 1 | Attached | 3 | 87.14 | 171.42 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 137 | 92 | 78 |  | 85 | 80 | 22 | 80 |  | 3 | 8 | 14 | 14 | 1 | 8 | 20 | 30 | 1 | 8 | 20 | 30 | 1 | [16 empty] | Used | Clean | Clean |  |  |  |  | 6 | 6 | 6 |  |  |  |  | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | Fotile | JQG9009/JQS9011 | RH |  | N | 3 | 2 |  | 278 |  |  | 392 | [6 empty] | 278 |  |  | 392 | 6 | 2 | Aside | Aside | 5 | 2 | CLB | CLF | CCB | CCF | CRB |  |  |  |  | OVN1 | OVN2 | -1.0497 | -0.82928 | -0.93948 | 283.7119 | 0.63805 | 3443 | 224.4932 | 0.6621 | 2993 | 75 | 48 | 100 | 100
26 | Davis | 956 | 12 | Regis Homes | 2013 | 2017-04-18 | 2017-04-25 | 2 | 1539 | 9 | 3 | 2 | 1 | Attached | 2 | 45.39 | 76.17 | Exhaust_Continuous | LAU | On | Yes | OnOff_Switch |  |  |  | 88 | 37 | 45 |  | 40 | 30 |  |  |  | 1 | 13 | 20 | 30 | 1 | [24 empty] | Like new | [6 empty] | 3 | [6 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | GE | JVM1950SR1SS | MI | 17 | N | 4 | 4 | used | 74 | 103 | 138 | 159 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 79.3402 | 109.7664 | 146.625 | 177.7439 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CCB | CRF | CRB |  |  |  |  | OVN |  | -1.4615 | -1.2958 | -1.3787 | 88.0619 | 0.75428 | 1684 | 79.0174 | 0.6759 | 1112 | 20 | 18 | 45 | 30
27 | Dublin | 945 | 12 | Brookfield | 2012 | 2017-06-06 | 2017-06-13 | 2 | 3149 | 11 | 4 | 4 | 1 | Attached | 3 | 68.99 | 131.97 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 72 | 52 | 56 |  | 52 | 58 | 63 | 36 |  | 2 | 8 | 20 | 25 | 1 | 8 | 14 | 14 | 1 | [20 empty] | Used | Very dirty | [5 empty] | 2 | 2 | [5 empty] | Gas |  |  | Gas | Gas | 1 | GRL | NA | GAR | Gas | Tankless | ATT | Broan | QP136SS | RH | 27 | Y | 2 | 2 | clean | 132 |  |  | 293 | [6 empty] | 132 |  |  | 293 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | -0.54077 | 0.74203 | 0.10063 | 135.3742 | 0.70967 | 2174 | 141.894 | 0.67102 | 1959 | 54 | -22 | 45 | 35
28 | Brentwood | 945 | 12 | William Lyon Homes | 2014 | 2017-03-15 | 2017-03-22 | 2 | 2448 | 8 | 5 | 3 | 0 | Attached | 3 | 69.48 | 118.44 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 75 | 92 | 85 |  | 109 | 92 |  |  |  | 2 | 8 | 24 | 20 | 1 | 8 | 24 | 20 | 1 | [20 empty] | Clean | Clean | [5 empty] | 2 | 2 | [5 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH31017AS-2 | MI | 24 | Y | 2 | 2 | clean | 36 |  |  | 42 |  | Model Average | 0.87 |  |  | 0.87 | 41.3793 |  |  | 48.2759 | 4 | 1 | Under |  | 2 | 1 | CLB | CRB | [7 empty] | OVN |  | -0.33871 | -0.19586 | -0.26728 | 156.1585 | 0.63615 | 1881 | 131.5244 | 0.65512 | 1706 | 72 | 28 | 75 | 45
29 | Brentwood | 945 | 12 | Van Daele | 2013 | 2017-06-09 | 2017-06-16 | 2 | 3050 | 9 | 5 | 4 | 1 | Attached | 2 | 75.5 | 136.5 | Exhaust_Continuous | LAU | On | Yes | OnOff_Switch |  |  |  | 104 | 93 | 50 |  | 80 | 100 | 44 | 13 |  | 2 | 12 | 14 | 14 | 1 | 11 | 20 | 30 | 1 | [20 empty] | Clean | Dirty | [5 empty] | 7 | 7 | [5 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | Whirlpool | UXT4236AYSO | RH | 29 | N | variable | 2 | clean | 125 |  |  | 160 | [6 empty] | 125 |  |  | 160 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN
30 | Pittsburg | 945 | 12 | Seeno Homes | 2014 | 2017-04-07 | 2017-04-14 | 2 | 3799 | 9 | 5 | 3 | 1 | Attached | 3 | 82.99 | 158.97 | Exhaust_Continuous | BA2 | Off | No | OnOff_Switch |  |  |  | 108 | 101 | 76 |  | 101 | 84 | 72 |  |  | 2 |  | 30 | 20 | 1 |  | 14 | 14 | 1 | [20 empty] | Used | Used | [12 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | Whirlpool | UXT5236BDS0 | RH | 28 | N | 3 | 3 | used | 86 | 185 |  | 224 | [6 empty] | 86 | 185 |  | 224 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -2.6128 | -1.502 | -2.0574 | 146.8265 | 0.75307 | 2794 | 144.9114 | 0.68284 | 2095 | -89 | -100 | 20 | 40
31 | Brentwood | 945 | 12 | Shea Homes | 2014 | 2017-05-03 | 2017-05-10 | 1 | 1468 | 10 | 2 | 2 | 0 | Attached | 2 | 37.18 | 66.54 | Supply_CFIS | None | Off | No | Thermostat | Home tested using continuous LAU exhaust fan because CFIS airflow and runtime cannot be verified. |  |  | 73 | 97 | 76 |  | 94 |  |  |  |  | 1 | 8 | 20 | 25 | 1 | [24 empty] | Very dirty | [6 empty] | 8 | [6 empty] | Electric |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | Whirlpool | UTX5236BDSO | RH | 24 | N | 3 | 3 | used | 129 | 235 |  | 274 | [6 empty] | 129 | 235 |  | 274 | 5 | 2 | Aside | Aside | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -1.1076 | -0.21263 | -0.66014 | 144.2078 | 0.64917 | 1828 | 92.37 | 0.69187 | 1384 | 54 | 61 | 100 | 45
32 | Brentwood | 945 | 12 | Seeno Homes | 2014 | 2017-05-26 | 2017-06-02 | 2 | 4905 | 10 | 5 | 3 | 1 | Attached | 3 | 94.05 | 192.15 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch | Home tested with low WHV because occupants turned off exhaust fan during the monitoring week. |  |  | 103 | 89 | 60 |  | 102 | 101 |  |  |  | 3 | 8 | 20 | 30 | 1 | 8 | 20 | 36 | 1 | 8 | 14 | 14 | 1 | [16 empty] | Like new | Like new | [5 empty] | 3 | 3 | 3 |  |  |  |  | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | PVM919SSF1SS | MI | 16 | N | 4 | 4 | used | 100 | 182 | 195 | 235 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 107.2165 | 193.9562 | 207.1875 | 262.7033 | 5 | 2 | Aside | Aside | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | -0.44708 | -1.35 | -0.89855 | 272.8301 | 0.64263 | 3371 | 275.0912 | 0.6271 | 3198 | 40 | -3 | 55 | 40
34 | Brentwood | 945 | 12 | Seeno Homes | 2013 | 2018-02-20 | 2018-02-27 | 2 | 3545 | 9 | 5 | 3 | 0 | Attached | 3 | 80.45 | 151.35 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 102 | 82 | 79 |  | 77 | 78 |  |  |  | 2 | 13 | 14 | 14 | 1 | 13 | 20 | 30 | 1 | [20 empty] | Like new | Like new | [5 empty] | 3 | 3 | [5 empty] | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JV566H2SS | RH | 28 | N | 2 | 2 | used | 139 |  |  | 218 | [6 empty] | 139 |  |  | 218 | 5 | 1 | Aside |  | 5 | 1 | CLF | CRB | CRF | CLB | CCB |  |  |  |  | OVN |  | 2.3737 | 1.5324 | 1.9531 | 147.6429 | 0.71471 | 2418 | 144.556 | 0.6762 | 2036 | 62 | 91 | 85 | 20
37 | Sacramento | 958 | 12 | Khovnanian Homes | 2016 | 2017-11-27 | 2017-12-04 | 2 | 1892 | 10 | 3 | 2 | 1 | Attached | 2 | 48.92 | 86.76 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 109 | 105 | 77 |  | 110 | 72 |  |  |  | 2 | 8 | 20 | 30 | 1 | 8 | 14 | 20 | 1 | [20 empty] | Very dirty | Very dirty | [5 empty] | 12 | 12 | [5 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE Profile | PVM9195SF3SS | MI | 19 | N | 4 | 4 | used | 92 | 132 | 183 | 212 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 98.6392 | 140.6715 | 194.4375 | 236.9919 | 4 | 1 | Under |  | 3 | 1 | CLF | CRB | CRF | [6 empty] | OVN |  | -1.7644 | -1.5454 | -1.6549 | 119.041 | 0.65566 | 1548 | 93.02 | 0.6389 | 1133 | 27 | 15 | 100 | 30
38 | Clovis | 936 | 13 | DR Horton | 2015 | 2017-11-07 | 2017-11-14 | 2 | 2642 | 9 | 5 | 3 | 0 | Attached | 3 | 71.42 | 124.26 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 73 | 87 | 100 |  | 71 | 85 |  |  |  | 1 | 8 | 20 | 30 | 1 | [24 empty] | Very dirty | [6 empty] | 1 | [6 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JVM3150RF1SS | MI | 21 | N | 2 | 2 | dirty | 111 |  |  | 115 | GE1 | JVM3160RF5SS | 0.93578 |  |  | 0.85586 | 118.6176 |  |  | 134.3684 | 5 | 1 | Under |  | 4 | 1 | CLF | CRB | CLB | CCB | [5 empty] | OVN |  | -1.7906 | -2.0943 | -1.9424 | 125.6662 | 0.67637 | 1772 | 141.061 | 0.62875 | 1651 | 70 | 41 | 100 | 100
39 | Manteca | 953 | 12 | Woodside Homes | 2012 | 2017-06-26 | 2017-07-03 | 1 | 1651 | 9 | 3 | 2 | 0 | Attached | 2 | 46.51 | 79.53 | Exhaust_Continuous | LAU | On | Yes | OnOff_Switch |  |  |  | 112 | 80 | 38 |  | 90 |  |  |  |  | 2 | 8 | 26 | 22 | 1 | 8 | 14 | 14 | 1 | [20 empty] | Clean | Clean | [5 empty] | 0.5 | 0.5 | [5 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Storage | ATT | GE | PVM1970SR1SS | MI | 19 | N | 4 | 4 | dirty | 64 | 90 | 119 | 135 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 68.6186 | 95.9124 | 126.4375 | 150.9146 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -0.44994 | -0.77236 | -0.61115 | 98.1016 | 0.66159 | 1305 | 97.9693 | 0.6136 | 1080 | 12 | -25 | 50 | 30
40 | Discovery Bay | 945 | 3 | Kiper Homes | 2013 | 2017-05-23 | 2017-05-30 | 1 | 2061 | 9 | 4 | 3 | 0 | Attached | 2 | 58.11 | 99.33 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 71 | 47 | 38 |  | 72 | 78 |  |  |  | 2 | 10 | 14 | 14 | 1 | 10 | 20 | 24 | 1 | [20 empty] | Used | Very dirty | [5 empty] | 0.5 | 0.5 | [5 empty] | Gas |  |  | Gas | Gas | 1 | California Room | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH53520AS-1 | MI | 20 | Y | 4 | 4 | dirty | 82 | 138 | 130 | 145 | WH2 | WMH53520CB | 0.8913 | 0.89865 | 0.8932 | 0.86328 | 92 | 153.5639 | 145.5435 | 167.9638 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CCF | [5 empty] | OVN |  | -1.1997 | -3.4737 | -2.3367 | 149.5485 | 0.59475 | 1532 | 113.2421 | 0.63336 | 1349 | 62 | 55 | 65 | 30
41 | Brentwood | 945 | 12 | Seeno (Discovery) Homes | 2016 | 2017-06-21 | 2017-06-28 | 1 | 4995 | 10 | 6 | 4 | 1 | Attached | 3 | 102.45 | 202.35 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 109 | 102 | 92 |  | 92 | 72 | 104 |  |  | 3 |  | 20 | 36 | 1 |  | 20 | 36 | 1 |  | 14 | 14 | 1 | [16 empty] | Like new | Like new | Very dirty | [11 empty] | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JV566H2SS | RH | 30 | N | 2 | 2 | clean | 152 |  |  | 237 | [6 empty] | 152 |  |  | 237 | 5 | 1 | Aside |  | 2 | 0 | CLB | CLF | [9 empty] | 0.98232 | 1.6335 | 1.3079 | 273.0089 | 0.66233 | 3643 | 246.7768 | 0.63929 | 3009 | 144 | 129 | 85 | 35
42 | Marysville | 959 | 11 | Woodside Homes | 2016 | 2017-09-14 | 2017-09-21 | 1 | 2188 | 9 | 3 | 2 | 0 | Attached | 3 | 51.88 | 95.64 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 136 | 115 | 92 |  | 100 |  |  |  |  | 2 | 8 | 20 | 30 | 1 | 8 | 14 | 14 | 1 | [20 empty] | Like new | Used | [5 empty] | 2 | 2 | [5 empty] | Electric |  |  | Gas | Gas | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JVM7195RF1SS | MI | 19 | N | 4 | 4 | dirty | 62 | 94 | 130 | 156 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 66.4742 | 100.1752 | 138.125 | 174.3902 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -1.6419 | -1.82 | -1.731 | 125.771 | 0.67443 | 1760 | 130.5585 | 0.62902 | 1529 | 15 | -11 | 40 | 100
44 | Brentwood | 945 | 12 | Standard Pacific | 2013 | 2017-09-01 | 2017-09-08 | 2 | 3364 | 9 | 5 | 3 | 0 | Attached | 3 | 78.64 | 145.92 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 80 | 60 | 52 |  | 71 | 62 |  |  |  | 2 | 10 | 20 | 25 | 1 | 8 | 16 | 16 | 1 | [20 empty] | Very dirty | Very dirty | [5 empty] | 1 | 1 | [5 empty] | Electric |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Storage | ATT | Whirlpool | UXT5230AYS1 | RH | 30 | N | 3 | 3 | dirty | 91 | 174 |  | 203 | [6 empty] | 91 | 174 |  | 203 | 4 | 1 | Aside |  | 3 | 1 | CLB | CLF | CRF | [6 empty] | OVN |  | 1.3906 | 1.1288 | 1.2597 | 235.4874 | 0.58564 | 2328 | 203.1337 | 0.63535 | 2439 | 6 | -6 | 60 | 100
45 | Elk Grove | 956 | 12 | Lennar Homes | 2015 | 2017-08-22 | 2017-08-29 | 2 | 2767 | 9 | 3 | 4 | 0 | Attached | 3 | 57.67 | 113.01 | Exhaust_Continuous | LAU | On | No | OnOff_Switch |  |  |  | 111 | 90 | 35 |  | 94 | 84 |  |  |  | 1 | 10 | 20 | 36 | 1 | [24 empty] | Very dirty | [6 empty] | 3 | [6 empty] | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JV666H2SS | RH | 29 | N | 4 | 4 | clean | 148 | 210 | 272 | 331 | [6 empty] | 148 | 210 | 272 | 331 | 5 | 2 | Aside | Aside | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -1.2598 | -0.2552 | -0.75751 | 150.7225 | 0.70613 | 2387 | 136.9598 | 0.69074 | 2042 | -41 | -44 | 55 | 75
46 | Clovis | 936 | 13 | Bonadelle | 2014 | 2017-11-08 | 2017-11-15 | 1 | 1900 | 10 | 4 | 2 | 0 | Attached | 2 | 56.5 | 94.5 | Exhaust_Intermittent | BA1_BA2 | Off | No | Programmable_Controller |  |  |  | 37 | 88 | 34 |  | 72 |  |  |  |  | 1 | 11 | 20 | 30 | 1 | [24 empty] | Like new | [6 empty] | 2 | [6 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | OUT | Gas | Tankless | ATT | Whirlpool | WMH31017AS-3 | MI | 18 | Y | 2 | 2 | dirty | 84 |  |  | 111 |  | Model Average | 0.87 |  |  | 0.87 | 96.5517 |  |  | 127.5862 | 4 | 1 | Under |  | 3 | 1 | CLB | CLF | CRB | [6 empty] | OVN |  | -1.3325 | -1.8019 | -1.5672 | 146.3166 | 0.59707 | 1512 | 88.3289 | 0.67634 | 1245 | 50 | 61 | 60 | 30
47 | Clovis | 936 | 13 | Benchmark | 2013 | 2017-10-12 | 2017-10-19 | 2 | 3028 | 9 | 5 | 3 | 0 | Attached | 3 | 75.28 | 135.84 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 84 | 91 | 76 |  | 98 | 87 |  |  |  | 1 | 14 | 20 | 30 | 1 | [24 empty] | Used | [6 empty] | 2 | [6 empty] | Electric |  | Warning on dryer that lint filter needs to be changed | Gas | Electric | 0 | NA | NA | OUT | Gas | Tankless | ATT | Whirlpool | GXW6536DXS2 | RH | 32 | N | 3 | 3 | used | 54 | 91 |  | 156 | [6 empty] | 54 | 91 |  | 156 | 5 | 1 | Aside |  | 5 | 2 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -0.21844 | 0.43215 | 0.10686 | 192.6567 | 0.6446 | 2399 | 162.5167 | 0.65521 | 2109 | 45 | 28 | 50 | 20
48 | Elk Grove | 956 | 12 | Lennar Homes | 2014 | 2017-09-19 | 2017-09-26 | 2 | 3105 | 9 | 5 | 3 | 0 | Attached | 3 | 76.05 | 138.15 | Exhaust_Continuous | LAU | On | Yes | OnOff_Switch |  |  |  | 112 | 83 | 37 |  | 73 | 78 |  |  |  | 1 | 11 | 20 | 36 | 1 | [24 empty] | Used | [6 empty] | 1 | [6 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JV666H2SS | RH | 28 | N | 4 | 4 | dirty | 145 | 213 | 279 | 356 | [6 empty] | 145 | 213 | 279 | 356 | 5 | 2 | Aside | Aside | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN1 | OVN2 | -0.49201 | -2.6607 | -1.5763 | 257.5829 | 0.64701 | 3237 | 278.2299 | 0.57903 | 2680 | 19 | -37 | 60 | 100
49 | Elk Grove | 956 | 11 | Taylor Morrison | 2015 | 2017-07-25 | 2017-08-01 | 2 | 2564 | 9 | 3 | 2 | 1 | Attached | 2 | 55.64 | 106.92 | Exhaust_Continuous | LAU | On | Yes | OnOff_Switch |  |  |  | 74 | 107 | 65 |  | 103 | 72 |  |  |  | 2 | 13 | 14 | 24 | 1 | 13 | 20 | 36 | 1 | [20 empty] | Like new | Used | [5 empty] | 1 | 1 | [5 empty] | Electric |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | PVM9195SF1SS | MI | 18 | N | 4 | 4 | clean | 105 | 154 | 209 | 234 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 112.5773 | 164.1168 | 222.0625 | 261.5854 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -0.62464 | 0.37298 | -0.12583 | 165.091 | 0.70148 | 2568 | 181.3105 | 0.65113 | 2316 | 34 | -20 | 95 | 30
50 | Elk Grove | 956 | 12 | Lennar Homes | 2016 | 2017-07-31 | 2017-08-07 | 2 | 2767 | 9 | 4 | 3 | 0 | Attached | 3 | 65.17 | 120.51 | Exhaust_Continuous | LAU | On | Yes | OnOff_Switch |  |  |  | 107 | 48 | 40 |  | 78 | 89 |  |  |  | 1 | 10 | 20 | 36 | 1 | [24 empty] | Very dirty | [13 empty] | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JV666HZSS | RH | 29 | N | 4 | 4 | clean | 144 | 203 | 272 | 362 | [6 empty] | 144 | 203 | 272 | 362 | 5 | 2 | Aside | Aside | 4 | 1 | CLB | CLF | CRB | CCB | [5 empty] | OVN |  | 1.328 | 0.71847 | 1.0232 | 160.2557 | 0.69181 | 2400 | 145.9983 | 0.67557 | 2052 | 156 | 17 | 70 | 20
52 | Pittsburg | 945 | 12 | William Lyon Homes | 2013 | 2017-08-11 | 2017-08-18 | 2 | 2810 | 9 | 4 | 3 | 0 | Attached | 2 | 65.6 | 121.8 | Exhaust_Continuous | LAU | On | No | Breaker_Panel |  |  |  | 97 | 98 | 50 |  | 96 | 100 |  |  |  | 1 | 8 | 20 | 36 | 1 | [24 empty] | Used | [6 empty] | 7 | [6 empty] | Electric |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Samsung | SMH9187ST | MI | 19 | N | 5 | 4 | dirty | 81 | 102 | 127 | 158 |  | Model Average | 0.87 | 0.87 | 0.87 | 0.87 | 93.1034 | 117.2414 | 145.977 | 181.6092 | 5 | 1 | Under |  | 4 | 1 | CLB | CLF | CRF | CCC | [5 empty] | OVN |  | -1.3815 | -0.63597 | -1.0088 | 197.9729 | 0.60323 | 2096 | 153.6448 | 0.65215 | 1970 | 72 | 25 | 30 | 25
53 | Hayward | 945 | 3 | SBI Construction | 2015 | 2017-08-09 | 2017-08-16 | 2 | 2448 | 9 | 4 | 3 | 0 | Attached | 2 | 61.98 | 110.94 | Exhaust_Continuous | LAU | Off | Yes | OnOff_Switch |  |  |  | 92 | 116 | 73 |  | 103 | 78 |  |  |  | 1 | 8 | 20 | 30 | 1 | [24 empty] | Like new | [6 empty] | 5 | [6 empty] | Electric |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Storage | ATT | Frigidaire | FFMV164LSA | MI | 19 | N | 2 | 2 | dirty | 190 |  |  | 213 |  | Model Average | 0.87 |  |  | 0.87 | 218.3908 |  |  | 244.8276 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -0.76733 | -0.97415 | -0.87074 | 129.2591 | 0.73476 | 2290 | 126.787 | 0.65746 | 1660 | 58 | -13 | 100 | 20
55 | Brentwood | 945 | 12 | Shea Homes | 2012 | 2017-10-16 | 2017-10-23 | 1 | 1468 | 10 | 2 | 2 | 0 | Attached | 2 | 37.18 | 66.54 | Supply_CFIS | None | Off | No | Thermostat | Home tested using continuous LAU exhaust fan because CFIS airflow and runtime cannot be verified. Home tested with low WHV because occupants turned off exhaust fan during the monitoring week. |  |  | 71 | 97 | 67 |  | 92 |  |  |  |  | 2 | 8 | 20 | 25 | 1 | 10 | 14 | 14 | 1 | [20 empty] | Used | Very dirty | [5 empty] | Never | Never | [5 empty] | Electric |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | Whirlpool Jenn-Air | JMV8208WB-0 | MI | 18 | N | 4 | 4 | dirty | 88 | 123 | 139 | 145 |  | Model Average | 0.87 | 0.87 | 0.87 | 0.87 | 101.1494 | 141.3793 | 159.7701 | 166.6667 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | 0.42855 | 1.486 | 0.95729 | 119.9403 | 0.66414 | 1612 | 130.6895 | 0.61498 | 1449 | 70 | 39 | 55 | 100
58 | Brentwood | 945 | 12 | Seeno Homes | 2012 | 2017-10-25 | 2017-11-01 | 1 | 2829 | 9 | 4 | 3 | 0 | Attached | 2 | 65.79 | 122.37 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 85 | 75 | 41 |  | 70 | 76 |  |  |  | 2 | 13 | 20 | 25 | 1 | 11 | 14 | 14 | 1 | [20 empty] | Used | Used | [5 empty] | 7 | 7 | [5 empty] | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | GE | JV666H2SS | RH | 30 | N | 4 | 4 | clean | 146 | 208 | 264 | 328 | [6 empty] | 146 | 208 | 264 | 328 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | 0.26632 | 0.37954 | 0.32293 | 204.9827 | 0.61286 | 2254 | 168.9264 | 0.64646 | 2118 | -22 | -43 | 20 | 40
59 | Brentwood | 945 | 12 | Discovery | 2015 | 2017-11-28 | 2017-12-05 | 2 | 4915 | 10 | 5 | 4 | 1 | Attached | 3 | 94.15 | 192.45 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 108 | 101 | 71 |  | 94 | 96 | 96 | 38 |  | 3 |  | 20 | 36 | 1 |  | 20 | 36 | 1 | 11 | 14 | 14 | 1 | [16 empty] | Like new | Used | Very dirty |  |  |  |  | 1 | 1 | 5 |  |  |  |  | Electric |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE | JV566H2SS | RH | 29 | N | 2 | 2 | clean | 143 |  |  | 222 | [6 empty] | 143 |  |  | 222 | 5 | 1 | Aside |  | 4 | 1 | CLB | CLF | CCB | CRF | [5 empty] | OVN |  | -2.1858 | -1.4153 | -1.8005 | 217.6071 | 0.69973 | 3361 | 160.6111 | 0.72513 | 2740 | -3 | -116 | 20 | 20
63 | Tracy | 953 | 12 | Lennar Homes | 2013 | 2018-01-04 | 2018-01-11 | 2 | 1821 | 9 | 3 | 3 | 0 | Attached | 2 | 48.21 | 84.63 | Exhaust_Continuous | BA3 | Off | No | OnOff_Switch |  |  |  | 25 |  | 39 |  | 94 | 96 |  |  |  | 1 | 8 | 20 | 30 | 1 | [24 empty] | Like new | [6 empty] | 2 | [6 empty] | Gas |  |  | Gas | Gas | 1 | GRL | NA | GAR | Gas | Storage | ATT | GE Profile | PVM1970SR1SS | MI | 18 | N | 4 | 4 | dirty | 83 | 121 | 163 | 193 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 88.9897 | 128.9489 | 173.1875 | 215.752 | 5 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CCC | [5 empty] | OVN |  | -0.46385 | -0.59123 | -0.52754 | 143.6079 | 0.67038 | 1978 | 130.695 | 0.6621 | 1742 | 29 | 25 | 100 | 100
65 | Manteca | 953 | 12 | Lafferty | 2016 | 2018-01-15 | 2018-01-22 | 1 | 2291 | 10 | 3 | 2 | 1 | Attached | 2 | 52.91 | 98.73 | Exhaust_Continuous | LAU | Off | Yes | OnOff_Switch |  |  |  | 104 | 71 | 52 |  | 47 | 51 |  |  |  | 2 | 8 | 20 | 25 | 1 | 8 | 14 | 14 | 1 | [20 empty] | Very dirty | Very dirty | [5 empty] | Never | Never | [5 empty] | Electric |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Bosch | HMV3052U/03 | MI | 18.5 | N | 2 | 2 | clean | 160 |  |  | 208 |  | Model Average | 0.87 |  |  | 0.87 | 183.908 |  |  | 239.0805 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | -1.2326 | -1.2519 | -1.2422 | 171.1509 | 0.63949 | 2089 | 142.9727 | 0.63998 | 1748 | -5 | 33 | 45 | 45
66 | Manteca | 953 | 12 | Lafferty | 2017 | 2018-02-05 | 2018-02-12 | 2 | 2767 | 9 | 3 | 2 | 1 | Attached | 3 | 57.67 | 113.01 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 98 | 89 | 43 |  | 49 | 47 |  |  |  | 2 | 8 | 14 | 14 | 1 | 8 | 20 | 25 | 1 | [20 empty] | Very dirty | Very dirty | [5 empty] | Never | Never | [5 empty] | Electric |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Bosch | HMV3052U/03 | MI | 19 | N | 2 | 2 | clean | 33 |  |  | 34 |  | Model Average | 0.87 |  |  | 0.87 | 37.931 |  |  | 39.0805 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | 0.06239 | -0.32156 | -0.12959 | 149.0074 | 0.64158 | 1833 | 135.8108 | 0.64569 | 1698 | 44 | 33 | 85 | 20
68 | Manteca | 953 | 12 | Del Webb | 2014 | 2018-01-24 | 2018-01-31 | 1 | 2379 | 10 | 2 | 2 | 0 | Attached | 2 | 46.29 | 93.87 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 110 | 110 | 69 |  | 103 |  |  |  |  | 1 | 13 | 20 | 36 | 1 | [24 empty] | Very dirty | [6 empty] | 12 | [6 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | Whirlpool | UXT4236ADS1 | RH | 32 | N | variable | 4 |  | 17 | 19 | 122 | 158 | [6 empty] | 17 | 19 | 122 | 158 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | -1.2705 | -2.2843 | -1.7774 | 158.3785 | 0.66058 | 2099 | 146.6856 | 0.63125 | 1733 | 140 | 98 | 55 | 50
101 | Eastvale | 928 | 10 | Beazer | 2013 | 2017-07-12 | 2017-07-19 | 2 | 3729 | 10 | 4 | 3 | 1 | Attached | 3 | 74.79 | 149.37 | Exhaust_Intermittent | BA1_BA2_BA3 | On | No | Programmable_Controller |  |  |  |  | 94 | 80 |  | 92 | 94 | 52 |  |  | 2 | 11 | 20 | 30 | 1 |  | 19.625 | 26 | 1 | [20 empty] | Used | Dirty | [12 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | Whirlpool | WMH53520 | MI | 18.5 | Y | 4 | 4 | dirty | 79 | 104 | 102 | 109 | WH2 | WMH53520CB | 0.8913 | 0.89865 | 0.8932 | 0.86328 | 88.6341 | 115.7293 | 114.1957 | 126.2624 | 4 | 2 | Aside | Aside | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | 0.31182 | 0.94762 | 0.62972 | 209.536 | 0.60196 | 2208 | 154.07 | 0.62812 | 1798 | -52 | -52 | 55 | 20
102 | Corona | 928 | 10 | Woodside Homes | 2014 | 2017-07-10 | 2017-07-17 | 2 | 2410 | 9 | 4 | 3 | 0 | Attached | 3 | 61.6 | 109.8 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch | Home tested with low WHV because occupants turned off exhaust fan during the monitoring week. |  |  | 73 | 76 | 70 |  | 69 | 70 |  |  |  | 1 | 8 | 20 | 30 | 1 | [24 empty] | Like new | [13 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | PVM9195SF1SS | MI | 19.5 | N | 4 | 4 | clean | 97 | 136 | 162 | 173 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 104 | 144.9343 | 172.125 | 193.3943 | 4 | 2 | Aside | Aside | 0 | 0 | [11 empty] | 0.52745 | 0.95284 | 0.74014 | 133.4054 | 0.6566 | 1741 | 136.0591 | 0.62248 | 1553 | 82 | 34 | 55 | 30
104 | Irvine | 926 | 8 | Irvine Company | 2013 | 2017-08-21 | 2017-08-29 | 2 | 2858 | 10 | 5 | 4 | 1 | Attached | 2 | 73.58 | 130.74 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 109 |  | 61 |  | 85 | 75 | 72 |  |  | 3 | 7 | 10 | 20 | 1 | 8 | 20 | 30 | 1 | 7 | 10 | 20 | 1 | [16 empty] | Dirty | Dirty | Dirty | [11 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | KitchenAid | KTA-KXU8036YSS | RH | 29 | N | 3 | 3 | dirty | 151 | 235 |  | 362 | [6 empty] | 151 | 235 |  | 362 | 6 | 2 | Aside | Aside | 5 | 1 | CLB | CLF | CRB | CRF | CCF |  |  |  |  | OVN |  | 0.08479 | 0.67043 | 0.37761 | 150.4196 | 0.70843 | 2404 | 186.8249 | 0.60208 | 1969 | 238 | 23 | 100 | 40
105 | Chino | 917 | 10 | Standard Pacific | 2015 | 2017-09-18 | 2017-09-25 | 2 | 2600 | 9 | 4 | 3 | 0 | Attached | 2 | 63.5 | 115.5 | Exhaust_Continuous | LAU | Off | Yes | OnOff_Switch |  | 120 |  | 98 | 83 | 66 |  | 72 | 79 |  |  |  | 2 | 11 | 14 | 14 | 1 | 11 | 20 | 30 | 1 | [20 empty] | Dirty | Dirty | [12 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Storage | ATT | Whirlpool | UXT5236BDS0 | RH | 34 | N | 2 | 3 | dirty | 76 | 160 |  | 183 | [6 empty] | 76 | 160 |  | 183 | 5 | 1 | Aside |  | 4 | 1 | CLF | CRB | CRF | CCB | [5 empty] | OVN |  | -1.0428 | -1.8458 | -1.4443 | 120.8984 | 0.68671 | 1775 | 122.201 | 0.64504 | 1524 | 15 | -57 | 45 | 85
106 | Chino | 917 | 10 | Lennar Homes | 2017 | 2017-11-02 | 2017-11-09 | 2 | 2967 | 10 | 5 | 3 | 0 | Attached | 2 | 74.67 | 134.01 | Exhaust_Continuous | LAU | Off | Yes | OnOff_Switch |  |  |  |  | 106 | 58 |  | 78 | 55 |  |  |  | 1 | 8 | 20 | 30 | 1 | [24 empty] | Dirty | [6 empty] | Never | [6 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | GE | JVM7195SK1SS | MI | 18.5 | N | 4 | 4 | clean | 55 | 80 | 106 | 122 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 58.9691 | 85.2555 | 112.625 | 136.3821 | 5 | 1 | Aside |  | 3 | 1 | CLB | CLF | CRF | [6 empty] | OVN |  | -1.3425 | -2.276 | -1.8093 | 169.6707 | 0.65626 | 2211 | 180.3451 | 0.60511 | 1924 | 65 | 75 | 55 | 100
107 | Lake Forest | 926 | 8 | Toll Brothers | 2015 | 2017-09-27 | 2017-10-04 | 2 | 2225 | 10 | 4 | 3 | 0 | Attached | 2 | 59.75 | 104.25 | Exhaust_Intermittent | BA1_BA2_BA3 | On | No | Programmable_Controller |  |  |  | 110 | 97 | 24 |  | 82 | 70 |  |  |  | 3 | 8 | 18 | 18 | 1 | 8 | 20 | 30 | 1 | 8 | 10 | 24 | 1 | [16 empty] | Clean | Clean | Clean | [11 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | Whirlpool | UXT5536AAS1 | RH | 29 | N | 3 | 3 | clean | 68 | 119 |  | 200 | [6 empty] | 68 | 119 |  | 200 | 5 | 1 | Under |  | 4 | 1 | CLB | CRB | CRF | CCB | [5 empty] | OVN |  | -3.4588 | -2.7176 | -3.0882 | 156.3352 | 0.61581 | 1739 | 79.2451 | 0.72366 | 1344 | 24 | 6 | 45 | 25
109 | Chino | 917 | 10 | Calatlantic Homes | 2016 | 2017-09-05 | 2017-09-12 | 2 | 3000 | 9 | 4 | 2 | 0 | Attached | 2 | 67.5 | 127.5 | Exhaust_Continuous | LAU | Off | Yes | OnOff_Switch |  |  |  | 90 | 70 | 71 |  | 71 | 78 |  |  |  | 2 | 8 | 20 | 30 | 1 | 8 | 20 | 30 | 1 | [20 empty] | Clean | Clean | [12 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | Kitchenaide |  | RH | 31 |  | 3 | 3 | clean | 79 | 145 |  | 166 | [6 empty] | 79 | 145 |  | 166 | 5 | 1 | Aside |  | 9 | 1 | CLB_KIT2 | CLF_KIT2 | CRB_KIT2 | CRF_KIT2 | CRF | CLB | CRB | CLF | CCB | OVN |  | 0.69004 | 0.04527 | 0.36766 | 237.3486 | 0.54705 | 2017 | 152.436 | 0.62534 | 1760 | 249 | 146 | 45 | 30
110 | Chino | 917 | 10 | Woodside Homes | 2016 | 2017-10-19 | 2017-10-26 | 2 | 2775 | 9 | 4 | 4 | 0 | Attached | 2 | 65.25 | 120.75 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 93 | 76 | 75 |  | 98 | 74 |  |  |  | 5 | 10 | 14 | 20 | 1 | 10 | 12 | 12 | 1 | 10 | 12 | 12 | 1 | 10 | 18 | 30 | 1 | 10 | 12 | 12 | 1 | [8 empty] | Dirty | Dirty | Dirty | Dirty | Dirty | [9 empty] | Gas |  |  | Gas | Electric | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JV566H2SS | RH | 29 | N | 2 | 2 | clean | 85 |  |  | 116 | [6 empty] | 85 |  |  | 116 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | -1.6093 | -0.71585 | -1.1626 | 157.4967 | 0.64744 | 1983 | 151.0176 | 0.61616 | 1682 | 50 | 35 | 100 | 50
112 | Irvine | 926 | 8 | Taylor Morrison | 2014 | 2017-08-11 | 2017-08-18 | 2 | 2200 | 10 | 3 | 2 | 1 | Attached | 2 | 52 | 96 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 106 | 33 | 36 |  | 66 | 73 |  |  |  | 3 | 11 | 12 | 24 | 1 | 11 | 12 | 24 | 1 | 11 | 20 | 30 | 1 | [16 empty] | Clean | Dirty | [12 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | GE | JV966DSS | RH | 36 | Y | 4 | 4 | clean | 130 | 224 | 348 | 434 | [6 empty] | 130 | 224 | 348 | 434 | 5 | 1 | Aside |  | 5 | 1 | CLB | CLF | CCB | CRF | CRB |  |  |  |  | OVN |  | -0.54987 | -0.40687 | -0.47837 | 258.2018 | 0.49989 | 1825 | 177.0407 | 0.58025 | 1714 | 61 | 14 | 40 | 30
113 | Alhambra | 918 | 9 | Custom Built | 2012 | 2017-11-11 | 2017-11-18 | 1 | 675 | 8 | 1 | 1 | 0 | None | NA | 21.75 | 35.25 | Exhaust_Continuous | BA1 | Off | No | OnOff_Switch |  |  |  |  | 54 | [50 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | OUT | Gas | Storage | NA | Frigidaire | LFMV164QFA | MI |  | N | 2 | 2 | clean | 140 |  |  | 161 |  | Model Average | 0.87 |  |  | 0.87 | 160.9195 |  |  | 185.0575 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -0.16542 | -0.09004 | -0.12773 | 198.452 | 0.53139 | 1587 | 80.148 | 0.60837 | 866 | NA | NA | NA | NA
114 | Van Nuys | 914 | 9 | California Home Builders | 2016 | 2017-12-20 | 2017-12-27 | 2 | 1489 | 9 | 4 | 2 | 1 | Attached | 2 | 52.39 | 82.17 | Exhaust_Continuous | BA3 | Off | No | OnOff_Switch | Home tested with low WHV because occupants turned off exhaust fan during the monitoring week. |  |  |  | 94 | 82 |  | 83 | 58 |  |  |  | 1 | 8 | 20 | 24 | 1 | [24 empty] | Used | [13 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Frigidaire | FFMV164LSA | MI | 20 | N | 2 | 2 | dirty | 122 |  |  | 127 |  | Model Average | 0.87 |  |  | 0.87 | 140.2299 |  |  | 145.977 | 4 | 1 | Under |  | 4 | 1 | CLF | CLB | CRB | CRF | [5 empty] | OVN |  | -1.4705 | -3.1555 | -2.313 | 150.6779 | 0.6263 | 1746 | 154.4154 | 0.61701 | 1726 | 139 | 75 | 85 | 20
115 | Yorba Linda | 928 | 8 | Toll Brothers | 2012 | 2018-01-22 | 2018-01-30 | 1 | 2142 | 9 | 3 | 3 | 1 | Attached | 3 | 51.42 | 94.26 | Exhaust_Intermittent | BA1_BA2_BA3 | On | No | Programmable_Controller |  |  |  | 63 | 78 | 65 |  | 67 | 69 | 70 |  |  | 2 | 11 | 20 | 20 | 1 | 11 | 20 | 36 | 1 | [20 empty] | Dirty | Dirty | [12 empty] | Gas |  |  | Gas | Electric | 1 | Patio | NA | GAR | Gas | Tankless | ATT | GE | JV966DSS | RH | 32 | Y | 4 | 4 | clean | 161 | 266 | 591 | 780 | [6 empty] | 161 | 266 | 591 | 780 | 6 | 2 | Aside | Aside | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -1.5855 | -3.761 | -2.6733 | 182.2835 | 0.61062 | 1987 | 126.6454 | 0.65497 | 1642 | 44 | -12 | 95 | 25
116 | Jurupa Valley | 917 | 10 | DR Horton | 2016 | 2018-01-17 | 2018-01-24 | 1 | 2367 | 9 | 4 | 3 | 0 | Attached | 2 | 61.17 | 108.51 | Exhaust_Continuous | ATT | On | No | None | Continuous exhaust fan in attic is connected to all 3 bathroom exhaust. There is no on/off switch or other control. |  | 211 |  | 49 | 32 |  | 49 | 81 |  |  |  | 2 | 8 | 20 | 30 | 1 | 8 | 20 | 20 | 1 | [20 empty] | Very dirty | Very dirty | [5 empty] | Never | Never | [5 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JVM3150DF1BB | MI | 19 | N | 2 | 2 | dirty | 139 |  |  | 145 | GE1 | JVM3160RF5SS | 0.93578 |  |  | 0.85586 | 148.5392 |  |  | 169.4211 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CRB | CRF | CCB |  |  |  |  | OVN |  | 0.20965 | 0.4458 | 0.32772 | 136.1525 | 0.62296 | 1557 | 132.9538 | 0.62025 | 1505 | 66 | 39 | 95 | 100
117 | Jurupa Valley | 917 | 10 | Lennar Homes | 2015 | 2018-01-04 | 2018-01-12 | 2 | 3105 | 9 | 5 | 3 | 0 | Attached | 2 | 76.05 | 138.15 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 99 | 75 | 65 |  | 74 | 62 |  |  |  | 2 | [42 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | GE | JVM7195SF1SS | MI | 20 | N | 3 | 4 | used | 54 | 79 | 105 | 118 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 57.8969 | 84.1898 | 111.5625 | 131.9106 | 5 | 2 | Aside | Aside | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -0.64848 | -4.916 | -2.7823 | 186.6276 | 0.58063 | 1809 | 133.75 | 0.61629 | 1491 | 104 | 67 | 50 | 35
121 | Jurupa Valley | 917 | 10 | DR Horton | 2015 | 2018-02-12 | 2018-02-20 | 2 | 2740 | 9 | 5 | 3 | 0 | Attached | 2 | 72.4 | 127.2 | Exhaust_Continuous | ATT | On | No | None | Continuous exhaust fan in attic is connected to all 3 bathroom exhaust. There is no on/off switch or other control. |  | 155 |  | 25 | 12 |  | 66 | 52 |  |  |  | 2 | 11 | 20 | 30 | 1 | 8 | 20 | 20 | 1 | [20 empty] | Dirty | Dirty | [12 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JVM3150DF1BB | MI |  | N | 2 | 2 | clean | 30 |  |  | 30 | GE1 | JVM3160RF5SS | 0.93578 |  |  | 0.85586 | 32.0588 |  |  | 35.0526 | 4 | 1 | Under |  | 3 | 1 | CLB | CRB | CRF | [6 empty] | OVN |  | -1.3132 | -1.6008 | -1.457 | 160.6155 | 0.62173 | 1828 | 157.1916 | 0.62425 | 1807 | -239 | -65 | 40 | 100
122 | Jurupa Valley | 917 | 10 | DR Horton | 2016 | 2018-03-09 | 2018-03-16 | 1 | 2470 | 9 | 4 | 3 | 0 | Attached | 2 | 62.2 | 111.6 | Exhaust_Continuous | ATT | On | No | None | Continuous exhaust fan in attic is connected to all 3 bathroom exhaust. There is no on/off switch or other control. |  | 216 |  | 39 | 35 |  | 51 | 91 |  |  |  | 2 | 6 | 20 | 30 | 1 | 6 | 20 | 20 | 1 | [20 empty] | Used | Used | [12 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | GE | JVM315ODF1BB | MI | 18.5 | N | 2 | 2 | dirty | 44 |  |  | 46 | GE1 | JVM3160RF5SS | 0.93578 |  |  | 0.85586 | 47.0196 |  |  | 53.7474 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | -0.6975 | -3.1543 | -1.9259 | 163.1853 | 0.5955 | 1677 | 143.1492 | 0.62437 | 1647 | 103 | 38 | 60 | 20
123 | Jurupa Valley | 917 | 10 | Lennar Homes | 2016 | 2018-02-23 | 2018-03-02 | 2 | 3400 | 9 | 5 | 3 | 0 | Attached | 3 | 79 | 147 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 109 | 71 | 78 |  | 71 | 35 |  |  |  | 4 | 8 | 12 | 24 | 1 | 8 | 20 | 30 | 1 | 8 | 20 | 30 | 1 | 8 | 20 | 20 | 1 | [12 empty] | Dirty | Dirty | Dirty | Dirty | [10 empty] | Gas |  |  | Gas | Electric | 1 | GRL | NA | GAR | Gas | Tankless | ATT | GE | JVM7195SF1SS | MI | 17 | N | 4 | 4 | dirty | 33 | 47 | 68 | 90 | GE2 | JVM7195SK3SS | 0.93269 | 0.93836 | 0.94118 | 0.89455 | 35.3814 | 50.0876 | 72.25 | 100.6098 | 5 | 2 | Aside | Aside | 4 | 1 | CLB | CLF | CRB | CCC | [5 empty] | OVN |  | -5.3109 | -5.2779 | -5.2944 | 148.5329 | 0.63777 | 1800 | 97.4065 | 0.66988 | 1339 | 38 | 26 | 35 | 100
124 | Van Nuys | 914 | 9 | California Home Builders | 2016 | 2018-03-01 | 2018-03-08 | 2 | 1500 | 9 | 4 | 2 | 1 | Attached | 2 | 52.5 | 82.5 | Exhaust_Continuous | BA3 | Off | No | OnOff_Switch | Home tested using continuous BA2 exhaust fan in a full bath, instead of the BA3 exhaust fan which is located in a half bath. |  |  |  | 71 | 85 |  | 72 |  |  |  |  | 1 | 11 | 20 | 24 | 1 | [24 empty] | Dirty | [13 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Frigidaire | FFMV164LSA | MI | 20 | N | 2 | 2 | dirty | 65 |  |  | 68 |  | Model Average | 0.87 |  |  | 0.87 | 74.7126 |  |  | 78.1609 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -1.5606 | -1.564 | -1.5623 | 157.6251 | 0.6263 | 1827 | 147.4547 | 0.58515 | 1455 | -45 | 5 | 100 | 100
125 | Van Nuys | 914 | 9 | California Home Builders | 2016 | 2018-03-06 | 2018-03-13 | 2 | 1580 | 9 | 4 | 2 | 1 | Attached | 2 | 53.3 | 84.9 | Exhaust_Continuous | BA3 | Off | No | OnOff_Switch | Home tested using continuous BA2 exhaust fan in a full bath, instead of the BA3 exhaust fan which is located in a half bath. |  |  |  | 94 | 74 |  | 77 | 62 |  |  |  | 1 | 8 | 20 | 24 | 1 | [24 empty] | Like new | [13 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Frigidaire | FFMV164LSA | MI | 29 | N | 2 | 2 | clean | 70 |  |  | 79 |  | Model Average | 0.87 |  |  | 0.87 | 80.4598 |  |  | 90.8046 | 4 | 1 | Under |  | 3 | 1 | CLB | CLF | CRB | [6 empty] | OVN |  | 0.09419 | -0.27159 | -0.0887 | 136.9039 | 0.62894 | 1603 | 125.2444 | 0.60481 | 1334 | 5 | 41 | 45 | 35
127 | Downey | 902 | 8 | Custom Built | 2017 | 2018-02-13 | 2018-02-21 | 1 | 2800 | 9 | 4 | 3 | 0 | Attached | 2 | 65.5 | 121.5 | Exhaust_Continuous | LAU | Off | No | OnOff_Switch |  |  |  | 75 | 86 |  |  | 57 | 29 |  |  |  | 2 | 10 | 20 | 30 | 1 | 10 | 20 | 30 | 1 | [27 empty] | 0 | 0 | [5 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | OUT | Gas | Storage | ATT | FSD | D0190 | RH | 30 | N | 3 | 3 | dirty | 80 | 83 |  | 105 | [6 empty] | 80 | 83 |  | 105 | 5 | 1 | Under |  | 5 | 1 | CLB | CLF | CRB | CRF | CCC |  |  |  |  | OVN |  | -2.4838 | -1.0849 | -1.7844 | 182.7083 | 0.63583 | 2198 | 222.5115 | 0.5679 | 2052 | 311 | 29 | 65 | 35
128 | Van Nuys | 914 | 9 | California Home Builders | 2016 | 2018-04-04 | 2018-04-11 | 2 | 1492 | 9 | 4 | 2 | 1 | Attached | 2 | 52.42 | 82.26 | Exhaust_Continuous | BA3 | Off | No | OnOff_Switch | Home tested using continuous BA2 exhaust fan in a full bath, instead of the BA3 exhaust fan which is located in a half bath. |  |  |  | 84 | 75 |  | 81 | 60 |  |  |  | 1 |  | 20 | 24 | 1 | [24 empty] | Like new | [6 empty] | 0.25 | [6 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Frigidaire | FFMV164LSA | MI | 20 | N | 2 | 2 | clean | 51 |  |  | 58 |  | Model Average | 0.87 |  |  | 0.87 | 58.6207 |  |  | 66.6667 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -0.32697 | -0.21625 | -0.27161 | 111.4595 | 0.65058 | 1420 | 110.8323 | 0.60646 | 1189 | 22 | 10 | 70 | 100
130 | Van Nuys | 914 | 9 | California Home Builders | 2015 | 2018-03-12 | 2018-03-19 | 2 | 1500 | 9 | 4 | 2 | 1 | Attached | 2 | 52.5 | 82.5 | Exhaust_Continuous | BA3 | Off | No | OnOff_Switch | Home tested using continuous BA2 exhaust fan in a full bath, instead of the BA3 exhaust fan which is located in a half bath. |  |  |  | 78 | 76 |  | 68 | 52 |  |  |  | 1 | 11 | 20 | 24 | 1 | [24 empty] | Like new | [13 empty] | Gas |  |  | Gas | Gas | 0 | NA | NA | GAR | Gas | Tankless | ATT | Frigidaire | FFMV164LSA | MI | 20 | N | 2 | 2 | clean | 62 |  |  | 83 |  | Model Average | 0.87 |  |  | 0.87 | 71.2644 |  |  | 95.4023 | 4 | 1 | Under |  | 4 | 1 | CLB | CLF | CRB | CRF | [5 empty] | OVN |  | -2.5709 | -1.071 | -1.821 | 114.2053 | 0.65398 | 1475 | 63.2267 | 0.76985 | 1285 | -84 | -67 | 75 | 35

## Sheet1
find the home value from a US real estate site
external climate
cost

## ReadMe
IMPORTANT NOTE: The method used to measure exhaust airflows from range hoods that also incorporate a microwave oven (called over the range microwaves, or “OTRs”) was found through subsequent lab testing at LBNL to produce a result that was biased low. Field measurements were corrected using either a correction factor measured for the same (OTR) equipment operating at each setting, or using the average of the correction factors obtained for 6 OTRs tested at all available settings in the lab. There is also concern that range hood airflows measured at one of the first few houses (004) is much higher than expected based on the available record of field measurements of range hood airflows. The correction factors used for OTRs and the questionable data are provided in columns: MOR_CorrectRatio_[Low, Med1, Med2, or High]. The adjusted airflow rates are provided in: RHD_Fan_Airflow_Adjusted_[Low, Med1, Med2, or High]_cfm.
Home_ID | Identification of the sampled home
City | City where the home is located
Zipcode | First 3 digits of zipcode
CZ | California climate zone: 1 to 16
Builder | Home builder
YearBuilt | Home year built
Start_Date | Start date of sampling: YYYY-MM-DD
End_Date | End date of sampling: YYYY-MM-DD
N_Stories | Number of stories
FloorArea_sqft | Floor area [sqft]
CeilingHgt_ft | Ceiling height [ft]
N_Bedrm | Number of bedrooms
N_FullBath | Number of full bathrooms
N_HalfBath | Number of half bathrooms
Garage | Garage type: attached or none
N_CarGarage | Number of car spaces
WHV_T24-2008_cfm | Title 24 (2008) required mechanical whole-house ventilation [cfm]
WHV+Infiltration_T24-2013_cfm | Title 24 (2013) required total (mechanical + infiltration) whole-house ventilation [cfm]
WHV_System_Installed | Types of mechanical whole-house ventilation system installed: continuous exhaust, intermittent exhaust, inline supply fan, CFIS (central fan integrated system)
WHV_Fan_Installed | Location of where the fan providing mechanical whole-house ventilation is located: ATT (attic), BA1 (master bathroom), BA2/3 (other bathroom), LAU (laundry room); e.g., BA1_BA2 indicates two fans are used
WHV_AsFound | Whether the mechanical whole-house ventilation was turned "On" or "Off" when field team first visited the home; for programmable-controller, "Off" means ventilation timing function was turned off
WHV_Label | Whether there is a label explaining the presence of a mechanical whole-house ventilation system: Yes or No
WHV_Control | Control type of the mechanical whole-house ventilation system: on/off switch, programmable controller, thermostat, breaker panel, or none
WHV_Notes | Notes about the mechanical whole-house ventilation system
EXF_KIT_Measured_cfm | Measured airflow of exhaust fan located in the kitchen [cfm]
EXF_ATT_Measured_cfm | Measured airflow of exhaust fan located in the attic [cfm]
EXF_LAU_Measured_cfm | Measured airflow of exhaust fan located in the laundry room [cfm]
EXF_BA1_Measured_cfm | Measured airflow of exhaust fan located in the master bathroom [cfm]
EXF_TO1_Measured_cfm | Measured airflow of exhaust fan located in the master bathroom toilet room [cfm]
EXF_SW1_Measured_cfm | Measured airflow of exhaust fan located in the master bathroom shower stall [cfm]
EXF_BA2_Measured_cfm | Measured airflow of exhaust fan located in the 2nd bathroom [cfm]
EXF_BA3_Measured_cfm | Measured airflow of exhaust fan located in the 3rd bathroom [cfm]
EXF_BA4_Measured_cfm | Measured airflow of exhaust fan located in the 4th bathroom [cfm]
EXF_BA5_Measured_cfm | Measured airflow of exhaust fan located in the 5th bathroom [cfm]
EXF_BA6_Measured_cfm | Measured airflow of exhaust fan located in the 6th bathroom [cfm]
AF_Count | Number of air filters: 1 to 7
AF1_MERV | MERV rating of 1st air filter
AF1_L | Length of 1st air filter [in]
AF1_W | Width of 1st air filter [in]
AF1_D | Depth of 1st air filter [in]
AF2_MERV | MERV rating of 2nd air filter
AF2_L | Length of 2nd air filter [in]
AF2_W | Width of 2nd air filter [in]
AF2_D | Depth of 2nd air filter [in]
AF3_MERV | MERV rating of 3rd air filter
AF3_L | Length of 3rd air filter [in]
AF3_W | Width of 3rd air filter [in]
AF3_D | Depth of 3rd air filter [in]
AF4_MERV | MERV rating of 4th air filter
AF4_L | Length of 4th air filter [in]
AF4_W | Width of 4th air filter [in]
AF4_D | Depth of 4th air filter [in]
AF5_MERV | MERV rating of 5th air filter
AF5_L | Length of 5th air filter [in]
AF5_W | Width of 5th air filter [in]
AF5_D | Depth of 5th air filter [in]
AF6_MERV | MERV rating of 6th air filter
AF6_L | Length of 6th air filter [in]
AF6_W | Width of 6th air filter [in]
AF6_D | Depth of 6th air filter [in]
AF7_MERV | MERV rating of 7th air filter
AF7_L | Length of 7th air filter [in]
AF7_W | Width of 7th air filter [in]
AF7_D | Depth of 7th air filter [in]
AF1_Condition | Condition of 1st air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF2_Condition | Condition of 2nd air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF3_Condition | Condition of 3rd air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF4_Condition | Condition of 4th air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF5_Condition | Condition of 5th air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF6_Condition | Condition of 6th air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF7_Condition | Condition of 7th air filter: "Clean", "Like New", "Used", "Dirty", "Very Dirty", "Inaccessible"
AF1_MonthsInUse | Number of months 1st air filter has been in used; "Never" means air filter has never been changed since its installation
AF2_MonthsInUse | Number of months 2nd air filter has been in used; "Never" means air filter has never been changed since its installation
AF3_MonthsInUse | Number of months 3rd air filter has been in used; "Never" means air filter has never been changed since its installation
AF4_MonthsInUse | Number of months 4th air filter has been in used; "Never" means air filter has never been changed since its installation
AF5_MonthsInUse | Number of months 5th air filter has been in used; "Never" means air filter has never been changed since its installation
AF6_MonthsInUse | Number of months 6th air filter has been in used; "Never" means air filter has never been changed since its installation
AF7_MonthsInUse | Number of months 7th air filter has been in used; "Never" means air filter has never been changed since its installation
ClothesDryer_Fuel | Fuel type of the clothes dryer: "Gas" or "Electric"
ClothesDryer_Measured_cfm | Measured airflow of clothes dryer exhaust [cfm]
ClothesDryer_Notes | Notes on venting of the clothes dryer
Cooktop_Fuel | Fuel type of the cooktop burners: "Gas" or "Electric"
Oven_Fuel | Fuel type of the oven: "Gas" or "Electric"
GFP_Count | Number of fireplace
GFP1_Location | Location of 1st fireplace
GFP2_Location | Location of 2nd fireplace
WaterHeater_Location | Location of water heater: "ATT" = attic, "GAR" = garage, "OUT" = outdoor
WaterHeater_Fuel | Fuel type of the water heater
WaterHeater_Type | Water heat type: "Storage" or "Tankless"
GasFurnace_Location | Location of the gas furance: "ATT" = attic; "NA" for home without gas furnace but uses heat pump instead
RHD_Make | Make of range hood or over-the-range microwave
RHD_Model | Model of range hood or over-the-range microwave
RHD_Type | Range hood or over-the-range microwave type: "RH" = range hood, "MI" = over-the-range microwave
RHD_Mounting_Height_in | Mounting height of the range hood or over-the-range microwave [in]
RHD_HVI_Listed | Whether if range hood or over-the-range microwave is HVI listed as of Dec 2019: Yes or No
RHD_N_Fan_Speed_Control | Number of available fan speeds on range hood or over-the-range microwave; "variable" means no set number of fan speeds because setting is adjustable
RHD_N_Fan_Speed_Measured | Number of fan speeds at which the airflow rates of the range hood or over-the-range microwave was measured
RHD_Grease_Screen_Condition | Condition of the grease screen: "clean", "used", "dirty"
RHD_Fan_Airflow_Measured_Low_cfm | Measured airflow rate at the lowest fan speed [cfm]
RHD_Fan_Airflow_Measured_Med1_cfm | Measured airflow rate at medium (1st) fan speed [cfm]
RHD_Fan_Airflow_Measured_Med2_cfm | Measured airflow rate at medium (2nd) fan speed [cfm]
RHD_Fan_Airflow_Measured_High_cfm | Measured airflow rate at the highest fan speed [cfm]
MOR_Code_LBNLtest | Code of the over-the-range microwave tested by LBNL for applying the airflow measurement correction
MOR_Model_LBNLtest | Model of the over-the-range microwave tested by LBNL for applying the airflow measurement correction
MOR_CorrectRatio_Low | Correction ratio applied to the lowest measured fan speed
MOR_CorrectRatio_Med1 | Correction ratio applied to medium (1st) measured speed
MOR_CorrectRatio_Med2 | Correction ratio applied to medium (2nd) measured speed
MOR_CorrectRatio_High | Correction ratio applied to the highest measured fan speed
RHD_Fan_Airflow_Adjusted_Low_cfm | Adjusted measured airflow rate at the lowest fan speed [cfm]
RHD_Fan_Airflow_Adjusted_Med1_cfm | Adjusted measured airflow rate at medium (1st) fan speed [cfm]
RHD_Fan_Airflow_Adjusted_Med2_cfm | Adjusted measured airflow rate at medium (2nd) fan speed [cfm]
RHD_Fan_Airflow_Adjusted_High_cfm | Adjusted measured airflow rate at the highest fan speed [cfm]
Cooktop_Burner_Count | Number of cooktop burners
Oven_Count | Number of ovens
Oven1_Location | Location of 1st oven: "Under" = underneath range hood or over-the-range microwave, "Aside" means the oven is placed off to the side away from the range hood or over-the-range microwave
Oven2_Location | Location of 2nd oven: "Under" = underneath range hood or over-the-range microwave, "Aside" means the oven is placed off to the side away from the range hood or over-the-range microwave
IBU_Cooktop_Count | Number of iButton temperature sensors used to monitor cooktop use
IBU_Oven_Count | Number of iButton temperature sensors used to monitor oven use
Cooktop_IBU1 | Placement of the 1st iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU2 | Placement of the 2nd iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU3 | Placement of the 3rd iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU4 | Placement of the 4th iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU5 | Placement of the 5th iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU6 | Placement of the 6th iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU7 | Placement of the 7th iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU8 | Placement of the 8th iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Cooktop_IBU9 | Placement of the 9th iButton on cooktop; the rightmost letter is always "C" = cooktop, followed by two letters indicating position: "C" = center, "F" = front, "B" = back, "L" = left, "R" = right
Oven_IBU1 | Placement of the 1st iButton on oven: "OVN" if only 1 oven is monitored, "OVN1" indicates 1st of two ovens monitored
Oven_IBU2 | Placement of the 2nd iButton on oven: "OVN2"
DeltaQ_Baseline_Pretest_Pa | Baseline envelope pressure difference [Pa] before testing
DeltaQ_Baseline_Posttest_Pa | Baseline envelope pressure difference [Pa] after testing
DeltaQ_Baseline_Avg_Pa | Average of baseline envelope pressure difference [Pa]
Pressurization_C_cfm | Envelope leakage coefficient [cfm] from pressurization testing
Pressurization_n | Pressure exponent from pressurization testing
Pressurization_Q50_cfm | Envelope leakage [cfm] at 50 Pa pressure difference from pressurization testing
Depressurization_C_cfm | Envelope leakage coefficient [cfm] from depressurization testing
Depressurization_n | Pressure exponent from depressurization testing
Depressurization_Q50_cfm | Envelope leakage [cfm] at 50 Pa pressure difference from depressurization testing
Supply_Leakage_cfm | Estimated supply duct leakage [cfm] at operating pressure
Return_Leakage_cfm | Estimated return duct leakage [cfm] at operating pressure
Supply_Leak_Pressure_Pa | Estimated supply duct operating pressure [Pa]
Return_Leak_Pressure_Pa | Estimated return duct operating pressure [Pa]